Workplace: Health, Safety & Welfare

Guidance for Managers

Issued by Occupational Safety Team

Issued:  December 2017

Last revised:  July 2021

# Managers Summary – What You Need To Do

# What are your responsibilities as a manager?

- Ensure that the premises/work area under your control provide a safe working environment for staff and others using the premises.

- Ensure that all defects identified, or unsafe practices observed, on the premises/in the work area are reported and addressed.

- Ensure appropriate information, instruction and training on maintaining the safety of the working environment is provided to staff.

- Explain to staff their responsibilities (listed below).

To achieve this:-

- Inspect the premises/work area under your control at suitable intervals (you can use the Workplace Inspection Form (Appendix 1) to record the findings).

- If any significant risks are identified, conduct a Risk Assessment and record the hazards and risks in the working environment. Inform your staff. Liaise with the Building Custodian where appropriate.

- Introduce suitable measures to control the risks identified.

- Inform staff about the steps you have taken to minimise the risks.

- Monitor control measures to ensure they are effective and amend if necessary.

- Review the Risk Assessment at least annually - more often if there are any accidents or changes in the work environment / work practices.

# Employee Responsibilities

- Employees have a responsibility to take reasonable care of their own health and safety while at work, and others they work with.

- Employees must report any defect they identify on the premises, or unsafe practises they observe, to their line manager/supervisor who will initiate appropriate action.

- Employees must assist with good housekeeping of their own personal workspace area and the communal areas.

# Contents

Managers Summary – What You Need To Do	2

What are your responsibilities as a manager?	2

Employee Responsibilities	2

Contents	3

Introduction	4

Ventilation	4

Temperature in indoor workplaces	4

Work in hot or cold environments	5

Lighting	5

Cleanliness & waste materials	6

Room dimensions and space	6

Workstations and seating	6

Floors and traffic routes	7

Transparent or translucent doors, gates or walls and windows	8

Windows	8

Doors & gates	8

Sanitary conveniences and washing facilities	9

Drinking water	10

Accommodation for clothing and facilities for changing	10

Facilities for rest and to eat meals	10

Appendix 1                                       WORKPLACE INSPECTION FORM	11

# Introduction

The Workplace (Health, Safety and Welfare) Regulations 1992 cover a wide range of basic health, safety and welfare issues and apply to most workplaces, including common parts of shared buildings, outdoor areas of premises, temporary worksites (but not construction sites). The Regulations do not apply to domestic premises.

This guidance document is provided to help managers risk assess the premises/environment /work areas where their staff work, to meet the requirements of the Workplace regulations.

Health

The measures outlined in this section contribute to the general working environment of people in the workplace.

# Ventilation

Is there adequate ventilation?

Workplaces need to be adequately ventilated. Fresh, clean air should be drawn from a source outside the workplace, uncontaminated by discharges from flues, chimneys or other process outlets, and be circulated through the work areas.

Ventilation should also remove and dilute warm, humid air and provide air movement which gives a sense of freshness without causing a draught. If the workplace contains process or heating equipment, or other sources of dust, fumes or vapours, more fresh air will be needed to provide adequate ventilation.

Windows or other openings may provide sufficient ventilation but, where necessary, mechanical ventilation systems should be provided and regularly maintained so they work effectively.

# Temperature in indoor workplaces

Environmental factors (such as humidity and sources of heat in the workplace) combine

with personal factors (such as the clothing an employee is wearing and how physically

demanding their work is) to influence what is called someone’s ‘thermal comfort’.

Individual personal preference makes it difficult to specify a thermal environment which satisfies everyone.

For workplaces where the activity is mainly sedentary, for example offices, the temperature should normally be at least 16 °C, but a comfortable temperature range of 20-24 °C is reasonable.

If work involves physical effort, it should be at least 13 °C (unless other laws require lower temperatures).

A meaningful figure cannot be given at the upper end of the scale. Factors other than air temperature, i.e. radiant heat, humidity and air velocity, become more significant and the interaction between them become more complex with rising temperatures.

The HSE say that thermal comfort is not measured by air temperature, but by the number of employees complaining of thermal discomfort and considers ‘80% of occupants as a reasonable limit for the minimum number of people who should be thermally comfortable in an environment'.  http://www.hse.gov.uk/temperature/thermal/index.htm

# Work in hot or cold environments

The risk to the health of workers increases as conditions move further away from those generally accepted as comfortable e.g. risk of heat stress arises from working in high air temperatures, exposure to high thermal radiation or high levels of humidity; cold stress may arise from working in cold stores, food preparation areas and in the open air during winter.

Assessment of the risk to workers’ health from working in either a hot or cold environment needs to consider both personal and environmental factors.

- Personal factors include body activity, the amount and type of clothing, and duration of exposure.

- Environmental factors include ambient temperature and radiant heat; and if the work is outside, sunlight, wind velocity and the presence of rain or snow.

Control measures to protect staff could include -

- introducing engineering measures to control the thermal effects in the workplace e.g. insulating any plant which acts as a radiant heat source; improving air movement by increasing ventilation rates; maintain appropriate levels of humidity

- the use of blinds or shutters on windows to reduce the radiant heat effects of the sun on indoor environments

- provide facilities and time for workers to replace bodily fluids to combat dehydration or cold

- where workers are exposed to cold and it is not reasonably practicable to avoid exposure, consider reducing exposure by re-organising work schedules to build in task breaks in areas where the environment is comfortable

- if work rates cause excessive sweating, workers may need more frequent rest breaks and facilities for changing into dry clothing

- medical pre-selection of employees to ensure that they are fit to work in these environments

- use of suitable personal protective clothing (which may need to be heat resistant or insulating, depending on whether the risk is from heat or cold)

- supervision, to ensure that the precautions identified by the risk assessment are taken.

# Lighting

Lighting should be suitable and sufficient, not producing excessive glare or shadow, to enable people to work and move about safely. Lighting and light fittings should not create any hazard.

Specific lighting standards have been set for particular work activities and work areas (e.g. specified in Building Standards; British Standards; specific Health & Safety Regulations). If employee/manager has concerns about lighting levels, they should contact the building custodian in the first instance. Lighting is a complex issue and advice from appropriate ‘experts’ may be required.

Automatic emergency lighting, powered by an independent source, should be provided where sudden loss of light would create a risk.

# Cleanliness & waste materials

Is the level of cleanliness at a good standard?

Every workplace and the furniture, furnishings and fittings should be kept clean and it should be possible to keep the surfaces of floors, walls and ceilings clean.

Cleaning and the removal of waste should be carried out as necessary by an effective method. Waste should be stored in suitable receptacles.

# Room dimensions and space

Workrooms should have enough free space to allow people to move about with ease. The number of people who may work in any particular room, at any one time, will depend not only on the size of the room, but the space taken up by furniture, fittings, equipment, and the layout of the room. The volume of the room when empty, divided by the number of people normally working in it, should be at least 11 cubic metres. All or part of a room over 3.0 m high should be counted as 3.0 m high. 11 cubic metres per person is a minimum and may be insufficient depending on the layout, contents and the nature of the work.

Are there suitable and sufficient storage facilities in the work area? Cluttering walkways and work surfaces is not acceptable and create hazards/risks. The storage facilities themselves should not create hazards and risks for staff – e.g.

- are shelves, racking or stacking stable with no risk of falling?

- are storage systems designed to reduce lifting and handling to a minimum?

- are storage systems appropriately placed?

# Workstations and seating

Workstations should be suitable for the people using them and for the work they do. People should be able to leave workstations swiftly in an emergency. If work can or must be done sitting, seats which are suitable for the people using them, and for the work they do, should be provided. Seating should give adequate support for the lower back, and footrests should be provided for workers who cannot place their feet flat on the floor when seated.

Have computer workstations been assessed and recorded?  (see Occupational Safety Website, DSE page for details)

Furniture and seating in common areas must be in safe condition.

Safety

Maintenance

The workplace, and equipment, devices and systems must be maintained in efficient working order (efficient in terms of health, safety and welfare). Such maintenance is required for -

- mechanical systems (e.g. ventilation systems)

- equipment and devices which would cause a risk to health, safety or welfare if a fault occurred (e.g. lifting equipment) and

- equipment/ devices intended to prevent or reduce hazard (e.g. machine guards).

The condition of buildings needs to be monitored to ensure that they have appropriate stability and solidity for their use. This includes risks from the normal running of the work process (e.g. whole body vibration, floor loadings) and foreseeable risks (e.g. fire in a gas cylinder store).

# Floors and traffic routes

‘Traffic route’ means a route for pedestrians, vehicles, or both, and includes any stairs, fixed ladder, doorway, gateway, loading bay or ramp.

There should be sufficient ‘traffic routes’, of sufficient width and headroom, to allow people and/or vehicles to circulate safely with ease.

If people and vehicles have to share a traffic route, use kerbs, barriers or clear markings to designate a safe walkway to keep vehicles and pedestrians apart.

Where pedestrians need to cross a vehicle route, provide clearly marked crossing points with good visibility.

Make sure the shared route is well lit.

It is often difficult for drivers to see behind their vehicle when they are reversing; as far as possible, plan traffic routes so that drivers do not need to reverse. This can be achieved by using one-way systems and drive-through loading areas. Where one-way systems are not possible, trained banksmen will be required to guide reversing vehicles.

Set appropriate speed limits, and make sure they, and any other traffic rules, are obeyed. Provide route markings and signs so that drivers and pedestrians know where to go and what rules apply to their route, so they are warned of any potential hazards.

Open sides of staircases should be fenced with an upper rail at 900 mm or higher, and a lower rail. A handrail should be provided on at least one side of every staircase, and on both sides if there is a particular risk. Additional handrails may be required down the centre of wide staircases. Access between floors should not be by ladders or steep stairs.

Loading bays should have at least one exit point from the lower level, or a refuge should be provided to avoid people being struck or crushed by vehicles.

Where a load is tipped into a pit or similar place, and the vehicle is liable to fall into it, barriers or portable wheel stops should be provided at the end of the traffic route.

Swinging gates at car park or similar entrances, should be locked open or locked shut (preferably by padlock) so they do not swing open and constitute a risk to oncoming vehicles.

Slips and trips are a common cause of injuries at work and also account for a significant number of accidents to members of the public on Council premises.

Floors and traffic routes should be sound, kept free of obstructions and any article or substance which may cause a person to slip, trip or fall. The surface should not have holes, be uneven or slippery.

For further information see ‘Preventing Slips & Trips’ on the Occupational Safety website.

Assessing traffic routes –

Are internal floor surfaces in good condition?

Are floors clear of obstacles and tripping hazards, e.g. trailing cables?

Are wet floor cones used when cleaning, or cleaned outside normal working hours?

Are all spills cleaned up immediately?

Are stairways in safe condition?

Are handrails in safe condition?

Are external pathways/steps in safe condition?

Are the grounds adequately maintained?

Is there suitable provision for gritting pedestrian access routes during icy weather?

# Transparent or translucent doors, gates or walls and windows

Glass panels could be a significant hazard i.e. in doors, side panels and windows at shoulder height and below, or wall partitions at waist height or below.

Windows, transparent or translucent surfaces in walls, partitions, doors and gates should, where necessary for reasons of health and safety, be made of safety material, or be protected against breakage. If there is a danger of people coming into contact with it, it should be marked or incorporate features to make it apparent.

Mangers need to consider whether there is a foreseeable risk of people coming into contact with glazing and being hurt. If this is the case, the glazing will need to meet the required standards.

# Windows

Openable windows, skylights and ventilators should be capable of being opened, closed or adjusted safely. When open they should not pose any undue risk to anyone inside or outside the building (e.g. an accident occurred in a school playground where a pupil playing football at break time ran into an open window on the ground floor).

Windows and skylights should be designed so that they may be cleaned safely.

# Doors & gates

Doors and gates should be suitably constructed and fitted with safety devices if necessary (e.g. finger guards on the doors in Nursery schools; devices to hold doors open in elderly residential establishments).

Doors and gates which swing both ways and conventionally hinged doors on main traffic routes should have a transparent viewing panel.

Power-operated doors and gates should have safety features to prevent people being struck or trapped and, where necessary, should have a readily identifiable and accessible control switch or device so that they can be stopped quickly in an emergency.

Upward-opening doors or gates need to be fitted with an effective device to prevent them falling back. Provided that they are properly maintained, counterbalance springs and similar counterbalance or ratchet devices to hold them in the open position are acceptable. Powered vertical opening doors that are powerful enough to lift an adult or child should be fitted with measures to prevent this.

Welfare

# Sanitary conveniences and washing facilities

Suitable and sufficient sanitary conveniences and washing facilities should be provided at readily accessible places. They, and the rooms containing them, should be kept clean and be adequately ventilated and lit. Washing facilities should have running hot and cold or warm water, soap and clean towels, or other means of cleaning or drying. If required by the type of work, showers should be provided. Men and women should have separate facilities unless each facility is in a separate room with a lockable door and is for use by only one person at a time.

Minimum numbers of facilities:

(The number of people at work shown in column 1 refers to the maximum number likely to be in the workplace at any one time)

Number of toilets and washbasins for mixed use (or women only):

| Number of people at work | Number of toilets | Number of washbasins |
| --- | --- | --- |
| 1-5 | 1 | 1 |
| 6-25 | 2 | 2 |
| 26-50 | 3 | 3 |
| 51-75 | 4 | 4 |
| 76-100 | 5 | 5 |

Toilets used by men only:

| Number of men at work | Number of toilets | Number of urinals |
| --- | --- | --- |
| 1-15 | 1 | 1 |
| 16-30 | 2 | 1 |
| 31-45 | 2 | 2 |
| 46-60 | 3 | 2 |
| 61-75 | 3 | 3 |
| 76-90 | 4 | 3 |
| 91-100 | 4 | 4 |

# Drinking water

An adequate supply of high-quality drinking water shall be provided for all persons at work, readily accessible at suitable places.

An upward drinking jet or suitable cups, should be provided.

Water should only be provided in refillable enclosed containers where it cannot be obtained directly from a mains supply. The containers should be refilled at least daily (unless they are chilled water dispensers where the containers are returned to the supplier for refilling). Bottled water/water dispensing systems may still be provided as a secondary source of drinking water.

Drinking water does not have to be marked unless there is a significant risk of people drinking non-drinking water.

# Accommodation for clothing and facilities for changing

Adequate, suitable and secure space should be provided to store workers’ own clothing and special clothing. As far as is reasonably practicable, the facilities should allow for drying clothing. Changing facilities should also be provided for workers who change into special work clothing. The facilities should be readily accessible from workrooms and washing and eating facilities, and should ensure the privacy of the user, be of sufficient capacity, and be provided with seating.

# Facilities for rest and to eat meals

Suitable and sufficient, readily accessible rest facilities should be provided.

Seats should be provided for workers to use during breaks. These should be in a place where personal protective equipment need not be worn. Rest areas or rooms should be large enough and have sufficient seats with backrests and tables for the number of workers likely to use them at any one time, including suitable access and seating which is adequate for the number of disabled people at work.

Where workers regularly eat meals at work, suitable and sufficient facilities should be provided for the purpose.

Work areas can be counted as rest areas and as eating facilities, provided they are adequately clean, there is a suitable surface on which to place food and food would not be contaminated.

Where provided, eating facilities should include a facility for preparing or obtaining a hot drink. Where hot food cannot be obtained in, or reasonably near to, the workplace, workers may need to be provided with a means for heating their own food (e.g. microwave oven).

From 1 July 2007, it has been against the law to smoke in virtually all enclosed public places and workplaces in England. See the Councils up to date ‘No Smoking Guidance’.

Workplace Inspection Form – see Appendix 1

This form can be used to record the findings as work areas are inspected. Please note the categories and prompts on the form are not exhaustive. The Inspection Form DOES NOT CONSTITUTE A RISK ASSESSMENT – any significant risks identified should be transferred to a Risk Assessment Form for further analysis.

Further information on Health & Safety can be found on the Occupational Safety Website www.bradford.gov.uk/hands/   and

Workplace (Health, Safety & Welfare) Regulations 1992 Approved Code of Practice on www.hse.gov.uk

# Appendix 1                                       WORKPLACE INSPECTION FORM

Area Inspected…………………………………………………………………………………………………………….….

Inspection Carried Out by………………………………………………………..……….Date..................................

| ITEMS / FACTORS INSPECTED | OBSERVATIONS | ACTION TO BE TAKEN (by who and by when) |
| --- | --- | --- |
| Ventilation |  |  |
| Temperature |  |  |
| Lighting |  |  |
| Cleanliness & waste materials |  |  |
| Room dimensions and space Storage |  |  |
| Workstations and seating |  |  |
| Maintenance - Premises - mechanical systems - equipment |  |  |
| Floors and traffic routes |  |  |
| Transparent or translucent doors, walls, windows etc. |  |  |
| Windows |  |  |
| Doors & gates |  |  |
| Sanitary conveniences and washing facilities |  |  |
| Drinking water |  |  |
| Accommodation for clothing, changing facilities |  |  |
| Facilities for rest and to eat meals |  |  |
| Other Issues |  |  |